## Menu
2026 Annual Planning Outlook
Data Tables
March 2026
Chapter 2: Demand Forecast
Figure 1¦ Net Annual Energy Demand (TWh)
Figure 2 ¦ Net Annual Seasonal Peak Demand (GW)
Figure 3 ¦ Historical Energy Demand
Figure 4 ¦ Demand Forecast by Scenario and Component (TWh)
Chapter 3: Supply Outlook and Transmission Outlook
Figure 5 ¦ Installed Capacity, by Fuel Type
Figure 6 ¦ Summer Effective Capacity, by Fuel Type
Figure 7 ¦ Winter Effective Capacity, by Fuel Type
Figure 8 ¦ Installed Capacity in 2026, by Fuel Type
Figure 9 ¦ Nuclear Refurbishment Schedule
Figure 10 ¦ Summer Refurbishment Outages
Figure 11 ¦ Existing Resources Post-Contract Expiry, by Fuel Type
Figure 12 ¦ Summer Effective Capacity Post-Contract Expiry, by Fuel Type
Figure 13 ¦ Winter Effective Capacity Post-Contract Expiry, by Fuel Type
Chapter 4: Resource Adequacy
Figure 18 ¦ Reserve Margin Requirement, 2027-2050
Figure 19 ¦ Summer Capacity Surplus/Deficit (MW)
Figure 20 ¦ Winter Capacity Surplus/Deficit (MW)
Figure 21: Energy Adequacy (TWh) - Reference Scenario
Figure 22: Energy Adequacy - High Demand Scenario
Figure 23: Energy Adequacy - Low Demand Scenario
Figure 24: Potential Unserved Energy (TWh)
Chapter 6: Operability
Figure 25: Primary Frequency Response Requirement Range and Capabilities, in MW/-0.1Hz
Figure 26: Load-Following Requirement and Ramp-Up Capability, in MW
Figure 27: Operating Reserve Capability from Flexible Resources, in MW
Figure 28: Forecasted Incremental Regulation Needs (MW)
Chapter 8: Integrated Reliability Needs
Figure 29: Remaining Capacity Needs After Considering In-Flight Actions
Figure 30: Remaining Energy Needs After Considering In-Flight Actions
Chapter 9: Planned Actions
Figure 32: Capacity Auction Forward Guidance
Figure 33: Incremental Actions Required to Meet Capacity Needs
Figure 34: Incremental Actions Required to Meet Energy Needs
Note: Most figures in this file are rounded; accordingly, some totals may not add up precisely.

## Figure 1
Back to main menu
Figure 1¦ Net Annual Energy Demand (TWh)
| 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Reference Scenario | 152.46 | 156.31 | 161.67 | 165.5 | 171.83 | 177.55 | 183.85 | 186.97 | 189.65 | 195.33 | 201.29 | 206 | 211.59 | 214.98 | 219.67 | 222.95 | 226.18 | 228.81 | 233.02 | 235.5 | 238.78 | 241.72 | 245.53 | 247.78 | 250.62
High-Demand Scenario | 154.43 | 160.78 | 168.01 | 175.64 | 182.96 | 190 | 198.14 | 203.38 | 208.27 | 218.22 | 227.91 | 235.87 | 243.72 | 247.67 | 254.88 | 258.87 | 264.32 | 268.42 | 273.4 | 276.58 | 280.95 | 284.41 | 288.82 | 293.66 | 297.13
Low-Demand Scenario | 149.62 | 151.84 | 155.2 | 157.57 | 160.41 | 164.14 | 171.72 | 173.06 | 174.96 | 177.25 | 179.24 | 180.6 | 182.22 | 183.87 | 186.71 | 188.84 | 191.23 | 193.33 | 196.24 | 197.47 | 199.29 | 200.81 | 203.39 | 204.67 | 206.51
Back to main menu

## Figure 2
Back to main menu
Figure 2 ¦ Net Annual Seasonal Peak Demand (GW)
| 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Reference Scenario - Summer Peak | 24.78 | 24.96 | 25.2 | 25.47 | 26.03 | 26.52 | 27.17 | 27.65 | 27.76 | 28.31 | 28.83 | 29.35 | 29.97 | 30.42 | 30.74 | 31.25 | 31.75 | 31.93 | 32.52 | 33.08 | 33.25 | 33.77 | 34.13 | 34.69 | 35.07
High-Demand Scenario - Summer Peak | 24.99 | 25.5 | 26.02 | 26.66 | 27.29 | 27.91 | 28.56 | 29.18 | 29.62 | 30.66 | 32.07 | 33.34 | 34.18 | 34.46 | 35.7 | 36.31 | 37.03 | 37.47 | 38.18 | 38.38 | 38.79 | 39.2 | 39.6 | 40.51 | 40.92
Low-Demand Scenario - Summer Peak | 24.47 | 24.48 | 24.58 | 24.7 | 24.91 | 25.27 | 25.87 | 26.13 | 26.36 | 26.5 | 26.61 | 26.78 | 26.93 | 27.04 | 27.26 | 27.54 | 27.85 | 28.09 | 28.43 | 28.56 | 28.69 | 28.82 | 29.02 | 29.31 | 29.5
Reference Scenario - Winter Peak | 22.67 | 23.1 | 23.54 | 23.85 | 24.71 | 25.47 | 26.18 | 26.72 | 27.15 | 27.81 | 28.49 | 29.09 | 29.92 | 30.42 | 30.86 | 31.32 | 31.84 | 32.17 | 32.62 | 33.04 | 33.45 | 33.83 | 34.2 | 34.64 | 35.09
High-Demand Scenario - Winter Peak | 22.9 | 23.63 | 24.39 | 25.16 | 26.15 | 26.97 | 28.23 | 29.21 | 29.52 | 31.03 | 32.12 | 33.28 | 34.25 | 34.97 | 35.6 | 36.22 | 36.91 | 37.56 | 38.22 | 39.04 | 39.87 | 40.31 | 40.43 | 41.35 | 41.84
Low-Demand Scenario - Winter Peak | 22.35 | 22.59 | 22.8 | 23.11 | 23.34 | 23.87 | 24.81 | 24.96 | 25.19 | 25.42 | 25.61 | 25.79 | 26.01 | 26.24 | 26.54 | 26.92 | 27.2 | 27.42 | 27.74 | 28.08 | 28.22 | 28.56 | 28.61 | 28.99 | 29.32
Back to main menu

## Figure 3
Back to main menu
Figure 3 ¦ Historical Energy Demand
Annual Energy (TWh)
| 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Gross-Level Demand | 159.21 | 156.83 | 164.92 | 163.84 | 162.26 | 165.15 | 169.85 | 171.35 | 177.1 | 181.58
eDSM Demand Savings | 14.59 | 16.89 | 19.37 | 20.52 | 21.04 | 22.19 | 23.36 | 25.39 | 26.91 | 28.64
Net-Level Demand | 144.62 | 139.94 | 145.55 | 143.32 | 141.22 | 142.97 | 146.49 | 145.96 | 150.19 | 152.94
Embedded Generation | 6.32 | 6.39 | 6.35 | 6.36 | 6.86 | 7.03 | 7.27 | 6.72 | 7.62 | 6.4
Grid-Level Demand | 138.31 | 133.55 | 139.2 | 136.96 | 134.36 | 135.94 | 139.22 | 139.24 | 142.56 | 146.5
Back to main menu

## Figure 4
Back to main menu
Figure 4 ¦ Demand Forecast by Scenario and Component (TWh)
| 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Reference Scenario - Reference Year Demand | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152
Reference Scenario - Baseline Growth | - | 2 | 4 | 5 | 8 | 8 | 9 | 9 | 10 | 11 | 12 | 13 | 15 | 17 | 18 | 19 | 20 | 21 | 22 | 24 | 25 | 27 | 29 | 29 | 31
Reference Scenario - Growth Margin | - | 2 | 5 | 8 | 11 | 17 | 22 | 25 | 27 | 32 | 36 | 40 | 44 | 46 | 49 | 51 | 54 | 55 | 58 | 59 | 61 | 62 | 64 | 66 | 67
High-Demand Scenario - Reference Year Demand | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154
High-Demand Scenario - Baseline Growth | - | 3 | 6 | 8 | 10 | 11 | 12 | 12 | 13 | 16 | 17 | 19 | 21 | 23 | 25 | 27 | 28 | 30 | 32 | 35 | 37 | 39 | 41 | 44 | 46
High-Demand Scenario - Growth Margin | - | 3 | 7 | 13 | 18 | 25 | 32 | 37 | 40 | 48 | 56 | 62 | 68 | 70 | 75 | 78 | 82 | 84 | 87 | 88 | 90 | 91 | 93 | 96 | 96
Low-Demand Scenario - Reference Year Demand | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150
Low-Demand Scenario - Baseline Growth | - | 1 | 3 | 3 | 3 | 4 | 7 | 6 | 7 | 7 | 7 | 7 | 7 | 7 | 8 | 8 | 7 | 7 | 7 | 8 | 8 | 8 | 9 | 10 | 10
Low-Demand Scenario - Growth Margin | - | - | 2 | 5 | 7 | 11 | 15 | 17 | 18 | 21 | 23 | 24 | 26 | 27 | 30 | 31 | 35 | 37 | 39 | 40 | 42 | 43 | 45 | 46 | 47
Back to main menu

## Figure 5
Back to main menu
Figure 5 ¦ Installed Capacity, by Fuel Type
Fuel | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | 9.268 | 8.448 | 9.268 | 8.763 | 10.135 | 10.687 | 12.374 | 13.241 | 13.556 | 13.556 | 13.556 | 13.556 | 13.556 | 13.556 | 13.556 | 13.556 | 13.556 | 11.9 | 13.1 | 13.1 | 14.3 | 14.3 | 15.5 | 15.5
Gas/Oil | 11.3828 | 11.774 | 11.586 | 11.4814 | 10.4282 | 10.4282 | 10.3859 | 6.7633 | 2.189 | 2.1374 | 1.7967 | 1.7967 | 1.792 | 0.0008 | 0.0008 | 0.0008 | 0.0008 | 0.0008 | 0.0008 | 0.0008 | 0 | 0 | 0 | 0
Hydroelectric | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947 | 9.2947
Wind | 5.5319 | 5.5226 | 5.3134 | 5.213 | 4.3764 | 4.1379 | 3.5949 | 2.0376 | 1.165 | 0.66735 | 0.55903 | 0.45991 | 0.09976 | 0.09976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar | 2.6486 | 2.6382 | 2.6087 | 2.454 | 2.2179 | 1.9882 | 1.6089 | 1.0682 | 0.51411 | 0.28724 | 0.20937 | 0.13559 | 0.00965 | 0.00065 | 0.00065 | 0.00065 | 0.00065 | 0.00065 | 0.00065 | 0.00065 | 0.00065 | 0.00065 | 0.00065 | 0
Bioenergy | 0.39436 | 0.34193 | 0.12883 | 0.11316 | 0.10794 | 0.056678 | 0.048387 | 0.02609 | 0.01119 | 0.01031 | 0.00981 | 0.00895 | 0.0077 | 0.0065 | 0.0065 | 0.0065 | 0.0065 | 0.0065 | 0.0065 | 0.0065 | 0.0065 | 0.0065 | 0.0065 | 0.0025
Imports | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302 | 0.302
Storage | 1.2044 | 2.9807 | 2.9789 | 2.9789 | 2.9777 | 2.9777 | 2.9777 | 2.9777 | 2.9777 | 2.9777 | 2.9667 | 2.9645 | 2.9645 | 2.9634 | 2.9634 | 2.9634 | 2.9634 | 2.9634 | 2.7134 | 2.7134 | 1.7842 | 0 | 0 | 0
Total | 40.0268 | 41.3021 | 41.4805 | 40.6002 | 39.8398 | 39.8724 | 40.5865 | 35.7105 | 30.0097 | 29.2326 | 28.6943 | 28.5184 | 28.0263 | 26.2238 | 26.1241 | 26.1241 | 26.1241 | 24.4681 | 25.4181 | 25.4181 | 25.6881 | 23.9039 | 25.1039 | 25.0992
Back to main menu

## Figure 6
Back to main menu
Figure 6 ¦ Summer Effective Capacity, by Fuel Type
Fuel | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | 8.19 | 9 | 8.15 | 8.99 | 8.93 | 10.3 | 10.81 | 12.19 | 12.96 | 12.96 | 12.96 | 12.96 | 12.96 | 12.96 | 12.96 | 12.96 | 12.96 | 11.26 | 12.38 | 12.38 | 13.51 | 13.51 | 14.63 | 14.63
Gas/Oil | 9.54 | 9.92 | 9.83 | 9.74 | 8.94 | 8.88 | 8.88 | 6.33 | 1.91 | 1.84 | 1.54 | 1.54 | 1.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydroelectric | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49
Wind | 0.7 | 0.7 | 0.67 | 0.66 | 0.62 | 0.53 | 0.48 | 0.34 | 0.21 | 0.13 | 0.08 | 0.06 | 0.06 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar | 0.6 | 0.6 | 0.6 | 0.59 | 0.53 | 0.47 | 0.4 | 0.31 | 0.17 | 0.1 | 0.06 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bioenergy | 0.38 | 0.37 | 0.31 | 0.12 | 0.11 | 0.06 | 0.05 | 0.02 | 0.02 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Imports | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
Storage | 0.6 | 1.49 | 1.49 | 1.49 | 1.49 | 1.49 | 1.49 | 1.49 | 1.49 | 1.49 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 1.36 | 1.36 | 0.89 | 0 | 0 | 0
Total | 26.8 | 28.87 | 27.84 | 28.38 | 27.41 | 28.51 | 28.9 | 27.48 | 23.54 | 23.32 | 22.93 | 22.87 | 22.84 | 21.25 | 21.23 | 21.23 | 21.23 | 19.54 | 20.54 | 20.54 | 21.2 | 20.3 | 21.43 | 21.42
Back to main menu

## Figure 7
Back to main menu
Figure 7 ¦ Winter Effective Capacity, by Fuel Type
Fuel | 2026 - 2027 | 2027 - 2028 | 2028 - 2029 | 2029 - 2030 | 2030 - 2031 | 2031 - 2032 | 2032 - 2033 | 2033 - 2034 | 2034 - 2035 | 2035 - 2036 | 2036 - 2037 | 2037 - 2038 | 2038 - 2039 | 2039 - 2040 | 2040 - 2041 | 2041 - 2042 | 2042 - 2043 | 2043 - 2044 | 2044 - 2045 | 2045 - 2046 | 2046 - 2047 | 2047 - 2048 | 2048 - 2049 | 2049 - 2050
Nuclear | 8.205 | 9.0334 | 8.1809 | 9.0197 | 8.4332 | 9.8133 | 10.333 | 11.9637 | 12.7301 | 12.9942 | 12.9942 | 12.9942 | 12.9942 | 12.9942 | 12.9942 | 12.9942 | 12.9942 | 11.2875 | 12.4112 | 12.4112 | 13.535 | 13.535 | 14.6587 | 14.6587
Gas/Oil | 10.308 | 10.308 | 10.6743 | 10.5071 | 10.4183 | 9.5269 | 9.5269 | 9.4175 | 6.1538 | 1.9765 | 1.9765 | 1.6529 | 1.6529 | 1.6316 | 0.00074917 | 0.00074917 | 0.00074917 | 0.00074917 | 0.00074917 | 0.00074917 | 0.00074917 | 0 | 0 | 0
Hydroelectric | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069 | 7.2069
Wind | 1.4437 | 1.4433 | 1.4404 | 1.3765 | 1.3529 | 1.1524 | 1.0908 | 0.95203 | 0.54647 | 0.29964 | 0.17288 | 0.14719 | 0.12398 | 0.027424 | 0.027424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bioenergy | 0.38403 | 0.37003 | 0.31392 | 0.12283 | 0.10661 | 0.10327 | 0.053077 | 0.045312 | 0.024432 | 0.010479 | 0.0096549 | 0.0091867 | 0.0083813 | 0.0069766 | 0.006087 | 0.006087 | 0.006087 | 0.006087 | 0.006087 | 0.006087 | 0.006087 | 0.006087 | 0.006087 | 0.006087
Imports | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059
Storage | 0.60222 | 0.60222 | 1.4903 | 1.4895 | 1.4895 | 1.4888 | 1.4888 | 1.4888 | 1.4888 | 1.4888 | 1.4843 | 1.4834 | 1.4823 | 1.4823 | 1.4817 | 1.4817 | 1.4817 | 1.4817 | 1.4817 | 1.3567 | 1.3567 | 0.89211 | 0 | 0
Total | 28.2089 | 29.0229 | 29.3658 | 29.7815 | 29.0665 | 29.3506 | 29.7584 | 31.1333 | 28.2096 | 24.0356 | 23.9035 | 23.5528 | 23.5277 | 23.4084 | 21.7761 | 21.7487 | 21.7487 | 20.0419 | 21.1657 | 21.0407 | 22.1644 | 21.6991 | 21.9307 | 21.9307
Back to main menu

## Figure 8
Back to main menu
Figure 8 ¦ Installed Capacity in 2026, by Fuel Type
Fuel | 2026 Installed Capacity (GW) | 2026 Installed Capacity Percentages (%)
Nuclear | 8.452 | 21.5491
Gas/Oil | 11.3828 | 29.0214
Hydroelectric | 9.2947 | 23.6976
Wind | 5.5333 | 14.1075
Solar | 2.6486 | 6.7528
Bioenergy | 0.40431 | 1.0308
Imports | 0.302 | 0.76997
Storage | 1.2044 | 3.0708
Total | 39.2221 | 100
Back to main menu

## Figure 9
Back to main menu
Figure 9 ¦ Nuclear Refurbishment Schedule
Unit | Refurbishment Start | Refurbishment End | Retirement
Bruce G3 | 2023-03-01 | 2026-07-09
Bruce G4 | 2025-01-31 | 2027-12-21
Bruce G5 | 2026-10-01 | 2029-09-05
Bruce G7 | 2028-10-01 | 2031-09-06
Bruce G8 | 2030-10-01 | 2033-09-05
Darlington G4 | 2023-07-18 | 2026-07-23
Pickering G1 |  |  | 2024-09-30
Pickering G4 |  |  | 2024-12-31
Pickering G5 | 2026-09-30 | 2031-05-01
Pickering G6 | 2026-09-30 | 2032-07-01
Pickering G7 | 2026-09-30 | 2033-04-17
Pickering G8 | 2026-09-30 | 2034-07-31
Back to main menu

## Figure 10
Back to main menu
Figure 10 ¦ Summer Refurbishment Outages
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Number of Units On Refurbishment | 3 | 2 | 6 | 5 | 6 | 5 | 5 | 3 | 2 | 1 | 0
Nuclear Capacity Offline for Refurbishment | 2512 | 1696 | 3732 | 2916 | 3736 | 2916 | 3206 | 1868 | 1338 | 518 | 0
Back to main menu

## Figure 11
Back to main menu
Figure 11 ¦ Existing Resources Post-Contract Expiry, by Fuel Type
Fuel | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.312 | 3.312 | 3.312 | 3.312 | 3.312 | 3.312 | 3.312
Gas/Oil | 0.045844 | 0.064444 | 0.25244 | 0.35705 | 1.4102 | 1.4102 | 1.4525 | 5.0751 | 9.6494 | 9.701 | 10.0417 | 10.0417 | 10.0464 | 11.8376 | 11.8376 | 11.8376 | 11.8376 | 11.8376 | 11.8376 | 11.8376 | 11.8384 | 11.8384 | 11.8384 | 11.8384
Wind | 0.00141 | 0.01066 | 0.21986 | 0.32026 | 1.1569 | 1.3954 | 1.9384 | 3.4957 | 4.3683 | 4.8659 | 4.9742 | 5.0734 | 5.4335 | 5.4335 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333
Solar | 2.255e-05 | 0.010356 | 0.039862 | 0.19454 | 0.43067 | 0.66034 | 1.0397 | 1.5804 | 2.1345 | 2.3613 | 2.4392 | 2.513 | 2.6389 | 2.6479 | 2.6479 | 2.6479 | 2.6479 | 2.6479 | 2.6479 | 2.6479 | 2.6479 | 2.6479 | 2.6479 | 2.6486
Bioenergy | 0.011548 | 0.064927 | 0.27803 | 0.2977 | 0.30291 | 0.35418 | 0.36247 | 0.38477 | 0.39967 | 0.40055 | 0.40105 | 0.40191 | 0.40316 | 0.40436 | 0.40436 | 0.40436 | 0.40436 | 0.40436 | 0.40436 | 0.40436 | 0.40436 | 0.40436 | 0.40436 | 0.40836
Storage | 0 | 0.008 | 0.00975 | 0.00975 | 0.011 | 0.011 | 0.011 | 0.011 | 0.011 | 0.011 | 0.021925 | 0.024115 | 0.024115 | 0.025235 | 0.025235 | 0.025235 | 0.025235 | 0.025235 | 0.27521 | 0.27521 | 1.2044 | 2.9887 | 2.9887 | 2.9887
Total | 0.058825 | 0.15839 | 0.79994 | 1.1793 | 3.3117 | 3.8311 | 4.804 | 10.547 | 16.5628 | 17.3398 | 17.8781 | 18.0541 | 18.5461 | 20.3486 | 20.4484 | 20.4484 | 20.4484 | 23.7604 | 24.0104 | 24.0104 | 24.9404 | 26.7246 | 26.7246 | 26.7293
Back to main menu

## Figure 12
Back to main menu
Figure 12 ¦ Summer Effective Capacity Post-Contract Expiry, by Fuel Type
Fuel | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.39 | 3.39 | 3.39 | 3.39 | 3.39 | 3.39 | 3.39
Gas/Oil | 0.052071 | 0.058907 | 0.15143 | 0.23333 | 1.037 | 1.1009 | 1.1009 | 3.6479 | 8.0738 | 8.1383 | 8.4376 | 8.443 | 8.4449 | 9.9811 | 9.9811 | 9.9811 | 9.9811 | 9.9811 | 9.9811 | 9.9811 | 9.9811 | 9.9819 | 9.9819 | 9.9819
Wind | 0.00019139 | 0.0012684 | 0.022541 | 0.032548 | 0.077332 | 0.16606 | 0.21201 | 0.35498 | 0.4905 | 0.5712 | 0.61326 | 0.63635 | 0.63635 | 0.6831 | 0.69633 | 0.69633 | 0.69633 | 0.69633 | 0.69633 | 0.69633 | 0.69633 | 0.69633 | 0.69633 | 0.69633
Solar | 0 | 7.402e-05 | 0.0025123 | 0.014859 | 0.068745 | 0.13315 | 0.20067 | 0.28943 | 0.43107 | 0.49734 | 0.54003 | 0.56924 | 0.59723 | 0.59859 | 0.59987 | 0.59987 | 0.59987 | 0.60477 | 0.59987 | 0.59987 | 0.59987 | 0.59987 | 0.59987 | 0.59987
Bioenergy | 0.0083204 | 0.016132 | 0.080083 | 0.27279 | 0.28364 | 0.33498 | 0.34462 | 0.36573 | 0.36667 | 0.37968 | 0.38098 | 0.38099 | 0.38248 | 0.38408 | 0.38408 | 0.38408 | 0.38408 | 0.38408 | 0.38408 | 0.38408 | 0.38408 | 0.38408 | 0.38408 | 0.38782
Storage | 0 | 0.004 | 0.004875 | 0.004875 | 0.0055 | 0.0055 | 0.0055 | 0.0055 | 0.0055 | 0.0055 | 0.01 | 0.012057 | 0.012057 | 0.012057 | 0.012618 | 0.012618 | 0.012618 | 0.012618 | 0.13761 | 0.13761 | 0.60222 | 1.4943 | 1.4943 | 1.4943
Total | 0.060583 | 0.080382 | 0.26144 | 0.5584 | 1.4722 | 1.7406 | 1.8637 | 4.6636 | 9.3675 | 9.592 | 9.9818 | 10.0416 | 10.073 | 11.6589 | 11.674 | 11.674 | 11.674 | 15.0689 | 15.189 | 15.189 | 15.6536 | 16.5464 | 16.5464 | 16.5502
Back to main menu

## Figure 13
Back to main menu
Figure 13 ¦ Winter Effective Capacity Post-Contract Expiry, by Fuel Type
Fuel | 2026 - 2027 | 2027 - 2028 | 2028 - 2029 | 2029 - 2030 | 2030 - 2031 | 2031 - 2032 | 2032 - 2033 | 2033 - 2034 | 2034 - 2035 | 2035 - 2036 | 2036 - 2037 | 2037 - 2038 | 2038 - 2039 | 2039 - 2040 | 2040 - 2041 | 2041 - 2042 | 2042 - 2043 | 2043 - 2044 | 2044 - 2045 | 2045 - 2046 | 2046 - 2047 | 2047 - 2048 | 2048 - 2049 | 2049 - 2050
Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4135 | 3.4135 | 3.4135 | 3.4135 | 3.4135 | 3.4135 | 3.4135
Gas/Oil | 0.052071 | 0.052071 | 0.069489 | 0.2367 | 0.32545 | 1.2169 | 1.2169 | 1.3263 | 4.59 | 8.7673 | 8.7673 | 9.0909 | 9.0909 | 9.1122 | 10.743 | 10.743 | 10.743 | 10.743 | 10.743 | 10.743 | 10.743 | 10.7438 | 10.7438 | 10.7438
Wind | 0 | 0.00037606 | 0.0032818 | 0.06725 | 0.090776 | 0.29131 | 0.35293 | 0.49167 | 0.89723 | 1.1441 | 1.2708 | 1.2965 | 1.3197 | 1.4163 | 1.4163 | 1.4437 | 1.4437 | 1.4437 | 1.4437 | 1.4437 | 1.4437 | 1.4437 | 1.4437 | 1.4437
Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bioenergy | 0.0014983 | 0.015497 | 0.072498 | 0.26359 | 0.28355 | 0.2869 | 0.33709 | 0.34485 | 0.36573 | 0.37968 | 0.38051 | 0.38098 | 0.38178 | 0.38319 | 0.38408 | 0.38408 | 0.38408 | 0.38408 | 0.38408 | 0.38408 | 0.38408 | 0.38408 | 0.38408 | 0.38408
Storage | 0 | 0 | 0.004 | 0.004875 | 0.004875 | 0.0055 | 0.0055 | 0.0055 | 0.0055 | 0.0055 | 0.01 | 0.010963 | 0.012057 | 0.012057 | 0.012618 | 0.012618 | 0.012618 | 0.012618 | 0.012618 | 0.13761 | 0.13761 | 0.60222 | 1.4943 | 1.4943
Total | 0.053569 | 0.067943 | 0.14927 | 0.57242 | 0.70465 | 1.8006 | 1.9124 | 2.1684 | 5.8584 | 10.2965 | 10.4286 | 10.7794 | 10.8045 | 10.9237 | 12.556 | 12.5834 | 12.5834 | 15.9969 | 15.9969 | 16.1219 | 16.1219 | 16.5873 | 17.4794 | 17.4794
Back to main menu

## Figure 18
Back to main menu
Figure 18 ¦ Reserve Margin Requirement, 2027-2050
| 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Annual Peak Demand (MW) | 24955 | 25202 | 25456 | 26008 | 26504 | 27148 | 27625 | 27733 | 28283 | 28810 | 29324 | 29944 | 30394 | 30825 | 31276 | 31795 | 32131 | 32576 | 33044 | 33406 | 33792 | 34159 | 34655 | 35034
Total Resource Requirement (MW) | 27968.3805 | 28826.8598 | 28251.4803 | 29275.6557 | 30318.6856 | 31055.3756 | 31601.0296 | 31724.5739 | 32353.7347 | 32956.5851 | 33544.5644 | 34253.8002 | 34768.5681 | 35261.6014 | 35777.5132 | 36371.2122 | 36755.5722 | 37264.6205 | 37799.9791 | 38214.0813 | 38655.6377 | 39075.4596 | 39642.8482 | 40076.3972
Reserve Margin Requirement (MW) | 3013.3805 | 3624.8598 | 2795.4803 | 3267.6557 | 3814.6856 | 3907.3756 | 3976.0296 | 3991.5739 | 4070.7347 | 4146.5851 | 4220.5644 | 4309.8002 | 4374.5681 | 4436.6014 | 4501.5132 | 4576.2122 | 4624.5722 | 4688.6205 | 4755.9791 | 4808.0813 | 4863.6377 | 4916.4596 | 4987.8482 | 5042.3972
Back to main menu

## Figure 19
Back to main menu
Figure 19 ¦ Summer Capacity Surplus/Deficit (MW)
| 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Reference Scenario | -1145.5159 | 67.5607 | -390.6473 | -872.0899 | -2323.852 | -2445.7109 | -2034.3292 | -4321.4174 | -8747.9273 | -10519.6967 | -10690.1108 | -10931.291 | -11944.1618 | -13320.4756 | -13582.0333 | -14461.4386 | -13925.146 | -15838.2103 | -17209.5957 | -16117.6423 | -17085.5154 | -19179.1693 | -17623.069 | -18524.2871
High-Demand Scenario | -1710.0213 | -768.6847 | -1690.0297 | -2245.3004 | -3843.5039 | -4158.1717 | -3980.0008 | -6497.6717 | -11360.153 | -13514.391 | -14277.1232 | -14776.0489 | -15777.5749 | -17769.372 | -18044.7374 | -19019.035 | -19029.6286 | -21006.9048 | -21913.5479 | -21390.6597 | -22397.2375 | -24502.39 | -23827.2128 | -24227.1937
Low-Demand Scenario | -609.4504 | 793.9935 | 460.9124 | 480.2702 | -822.4308 | -1013.082 | -454.8378 | -2573.3612 | -6630.1495 | -8068.6621 | -7633.2186 | -7440.2824 | -8186.2972 | -9431.1383 | -9500.8275 | -10147.3015 | -9632.4812 | -11371.5612 | -12545.3394 | -11353.5121 | -11952.6031 | -14168.5361 | -12083.1029 | -12058.5517
Back to main menu

## Figure 20
Back to main menu
Figure 20 ¦ Winter Capacity Surplus/Deficit (MW)
| 2026 - 2027 | 2027 - 2028 | 2028 - 2029 | 2029 - 2030 | 2030 - 2031 | 2031 - 2032 | 2032 - 2033 | 2033 - 2034 | 2034 - 2035 | 2035 - 2036 | 2036 - 2037 | 2037 - 2038 | 2038 - 2039 | 2039 - 2040 | 2040 - 2041 | 2041 - 2042 | 2042 - 2043 | 2043 - 2044 | 2044 - 2045 | 2045 - 2046 | 2046 - 2047 | 2047 - 2048 | 2048 - 2049 | 2049 - 2050
Reference Scenario | 171.2484 | 41.7531 | -314.6154 | -457.546 | -1551.9163 | -1730.7988 | -1548.5039 | -950.5562 | -5068.0955 | -9909.5491 | -10146.9676 | -10780.1301 | -11630.0492 | -12779.9587 | -13572.0947 | -15353.3027 | -15179.1376 | -16210.0725 | -16351.7184 | -18291.483 | -16917.857 | -17091.1273 | -18309.1624 | -17750.2261
High-Demand Scenario | -249.17 | -711.3239 | -1631.0079 | -1968.1921 | -3236.159 | -3841.1543 | -3970.3432 | -3292.7082 | -8438.0858 | -13828.4737 | -14502.3981 | -15389.5158 | -16405.4718 | -17547.5134 | -18907.4757 | -20991.7095 | -21144.4208 | -22372.0816 | -22681.2696 | -24834.887 | -23597.5199 | -23818.5351 | -25452.9629 | -25160.3134
Low-Demand Scenario | 598.5641 | 695.2148 | 624.5021 | 885.9007 | 98.0856 | -227.7199 | 148.3987 | 588.1291 | -2729.9849 | -7048.0772 | -6887.4219 | -7065.0795 | -7637.1546 | -8984.8089 | -9144.0912 | -10758.4346 | -10468.7315 | -11282.429 | -11381.7389 | -12881.248 | -11681.0652 | -11593.385 | -12591.0115 | -11924.7081
Back to main menu

## Figure 21
Back to main menu
Figure 21: Energy Adequacy (TWh) - Reference Scenario
Fuel | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | 59.67 | 70.19 | 67.88 | 71.46 | 73.23 | 82.56 | 88.86 | 101.12 | 106.96 | 102.78 | 107.12 | 107.19 | 101.57 | 105.8 | 108.71 | 104.76 | 103.72 | 95.99 | 102.13 | 102.91 | 115.46 | 109.73 | 122.87 | 125.11
Hydroelectric | 39.49 | 39.44 | 39.63 | 39.68 | 39.68 | 39.8 | 39.68 | 39.67 | 39.67 | 39.8 | 39.68 | 39.68 | 39.65 | 39.8 | 39.69 | 39.69 | 39.69 | 39.8 | 39.69 | 39.69 | 39.69 | 39.8 | 39.69 | 39.69
Non-Hydro Renewables | 18.45 | 18.28 | 17.52 | 17.06 | 15.98 | 13.87 | 12.5 | 9.5 | 5.5 | 3.09 | 2.06 | 1.51 | 1 | 0.29 | 0.15 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04
Natural Gas | 38.75 | 33.94 | 40.47 | 42.23 | 44.08 | 32.84 | 27.54 | 24.93 | 22.11 | 16.96 | 13.9 | 13.28 | 13.25 | 3.6 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | - | - | -
Storage | 0.83 | 1.05 | 1.01 | 0.98 | 1.48 | 0.71 | 0.55 | 0.71 | 0.41 | 0.11 | 0.03 | 0.02 | 0.06 | - | - | - | - | - | - | - | - | - | - | -
Total Ontario Demand | 157.32 | 162.94 | 166.55 | 172.81 | 179.14 | 184.49 | 187.41 | 190.28 | 195.57 | 201.18 | 205.79 | 211.35 | 214.78 | 219.35 | 222.63 | 225.86 | 228.49 | 232.69 | 235.18 | 238.46 | 241.4 | 245.21 | 247.46 | 250.2
Back to main menu

## Figure 22
Back to main menu
Figure 22: Energy Adequacy (TWh) - High Demand Scenario
Fuel | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | 59.67 | 70.19 | 67.88 | 71.46 | 73.23 | 82.56 | 88.86 | 101.12 | 106.96 | 102.77 | 107.12 | 107.19 | 101.57 | 105.8 | 108.71 | 104.76 | 103.72 | 95.99 | 102.13 | 102.91 | 115.46 | 109.73 | 122.87 | 125.11
Hydroelectric | 39.58 | 39.66 | 39.68 | 39.68 | 39.67 | 39.8 | 39.68 | 39.68 | 39.67 | 39.75 | 39.68 | 39.68 | 39.68 | 39.8 | 39.69 | 39.69 | 39.69 | 39.8 | 39.69 | 39.69 | 39.69 | 39.8 | 39.69 | 39.69
Non-Hydro Renewables | 18.47 | 18.3 | 17.92 | 17.09 | 16.01 | 13.88 | 12.5 | 9.51 | 5.5 | 3.09 | 2.06 | 1.51 | 1 | 0.29 | 0.15 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04
Natural Gas | 42.84 | 39.87 | 47.13 | 47.9 | 45.77 | 33 | 27.5 | 24.97 | 22.13 | 16.98 | 13.8 | 13.28 | 13.3 | 3.6 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | - | - | -
Storage | 0.84 | 0.92 | 0.99 | 0.82 | 0.67 | 0.36 | 0.22 | 0.2 | 0.02 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Total Ontario Demand | 161.8 | 169.13 | 176.84 | 183.96 | 190.81 | 198.58 | 203.64 | 208.51 | 218.24 | 227.91 | 235.87 | 243.72 | 247.67 | 254.88 | 258.87 | 264.32 | 268.42 | 273.4 | 276.58 | 280.95 | 284.41 | 288.82 | 293.66 | 297.13
Back to main menu

## Figure 23
Back to main menu
Figure 23 ¦ Energy Adequacy (TWh) - Low Demand Scenario
Fuel | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | 59.67 | 70.18 | 67.88 | 71.46 | 73.23 | 82.56 | 88.85 | 101.07 | 106.92 | 102.73 | 107.12 | 107.17 | 101.56 | 105.79 | 108.71 | 104.76 | 103.72 | 95.99 | 102.13 | 102.91 | 115.46 | 109.65 | 122.69 | 124.96
Hydroelectric | 39.36 | 38.94 | 39.31 | 39.61 | 39.67 | 39.8 | 39.43 | 39.56 | 39.31 | 39.57 | 39.64 | 39.66 | 39.47 | 39.8 | 39.69 | 39.69 | 39.69 | 39.8 | 39.69 | 39.69 | 39.69 | 39.76 | 39.66 | 39.66
Non-Hydro Renewables | 18.45 | 18.28 | 17.5 | 17.06 | 15.97 | 13.86 | 12.5 | 9.49 | 5.49 | 3.09 | 2.06 | 1.51 | 0.99 | 0.29 | 0.15 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04
Natural Gas | 34.49 | 28.08 | 33.15 | 32.12 | 34.57 | 30.31 | 25.44 | 21.59 | 18.6 | 15.91 | 13.65 | 13.02 | 12.89 | 3.6 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | - | - | -
Storage | 0.88 | 1.36 | 1.21 | 1 | 1.36 | 1.78 | 1.83 | 2.02 | 1.89 | 1.41 | 1.2 | 1.5 | 1.17 | 0.37 | 0.14 | 0.11 | 0.03 | - | 0.05 | 0.01 | 0.06 | 0 | - | -
Total Ontario Demand | 152.91 | 156.86 | 159.04 | 161.63 | 165.8 | 173.89 | 175.29 | 177.42 | 179.55 | 180.97 | 182.05 | 184.05 | 185.29 | 187.16 | 189.02 | 191.36 | 193.37 | 196.24 | 197.53 | 199.3 | 200.88 | 203.39 | 204.67 | 206.51
Back to main menu

## Figure 24
Back to main menu
Figure 24: Potential Unserved Energy (TWh)
| 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Reference Scenario | 0 | 0 | 0 | 0 | 1 | 4 | 13 | 16 | 12 | 19 | 36 | 41 | 48 | 57 | 68 | 72 | 79 | 83 | 95 | 91 | 94 | 84 | 93 | 83 | 83
High Demand Scenario | 0 | 0 | 0 | 2 | 6 | 14 | 27 | 33 | 31 | 42 | 63 | 71 | 80 | 90 | 103 | 108 | 118 | 123 | 135 | 133 | 136 | 127 | 137 | 129 | 130
Low Demand Scenario | - | 0 | 0 | - | 0 | 1 | 5 | 6 | 3 | 6 | 16 | 17 | 19 | 27 | 35 | 38 | 45 | 48 | 58 | 53 | 54 | 43 | 52 | 40 | 40
Back to main menu

## Figure 25
Back to main menu
Figure 25: Primary Frequency Response Requirement Range and Capabilities (MW/-0.1 Hz)
| Reference (2024) | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036
Minimum Requirement (Lower Bound) | 40.4 | 40.4 | 40.4 | 40.4 | 40.4 | 40.4 | 40.4 | 40.4 | 40.4 | 40.4 | 40.4
Minimum Requirement (Upper Bound) | 45.8 | 45.8 | 45.8 | 45.8 | 45.8 | 45.8 | 45.8 | 45.8 | 45.8 | 45.8 | 45.8
Baseload Capability | 41.3481 | 41.3481 | 41.3481 | 41.3481 | 41.3481 | 41.3481 | 37.3874 | 37.3874 | 37.3874 | 37.3874 | 37.3874
Non-Baseload Capability | 50.6865 | 50.357 | 49.7448 | 45.6286 | 45.3065 | 37.3725 | 41.3331 | 41.3331 | 36.9866 | 14.304 | 14.304
Same Technology Upgrades, E-LT1, LT1 Gas Capability | 0 | 4.4639 | 4.4639 | 21.119 | 21.119 | 21.119 | 21.119 | 21.119 | 19.3942 | 17.4459 | 17.4459
Potential Storage Capability | 0 | 44.3742 | 44.3742 | 117.6762 | 117.6762 | 117.6762 | 117.6762 | 117.6762 | 117.6762 | 117.6762 | 117.6762
Back to main menu

## Figure 26
Back to main menu
Figure 26: Load-Following Requirement and Ramp-Up Capability (MW)
| Reference (2024) | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036
Load-Following Requirement | 4010.2619 | 4418.4281 | 4508.545 | 4488.5635 | 4513.3042 | 4374.9021 | 4271.7427 | 4175.3032 | 3911.9864 | 3690.3372 | 3357.2339
+ Operating Reserve Requirement | 5510.2619 | 5918.4281 | 6008.545 | 5988.5635 | 6013.3042 | 5874.9021 | 5771.7427 | 5675.3032 | 5411.9864 | 5190.3372 | 4857.2339
Gas Capability | 5522 | 5640 | 5640 | 5640 | 5601 | 5190 | 5152 | 5152 | 2646 | 588 | 588
Other Capability | 166 | 166 | 166 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Same Technology Upgrades, E-LT1, LT1 Gas Capability | 0 | 135.1652 | 219.5802 | 219.5802 | 219.5802 | 219.5802 | 219.5802 | 219.5802 | 187.3133 | 100.8068 | 100.8068
Potential Storage Capability | 0 | 798.735 | 798.735 | 2118.1725 | 2118.1725 | 2118.1725 | 2118.1725 | 2118.1725 | 2118.1725 | 2118.1725 | 2118.1725
Back to main menu

## Figure 27
Back to main menu
Figure 27: Operating Reserve Capability from Flexible Resources (MW)
| 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036
Reference (2024) | 6847 | 6847 | 6847 | 6847 | 6847 | 6847 | 6847 | 6847 | 6847 | 6847
Gas/Oil | 2153.1785 | 2153.1785 | 2092.1785 | 2049.0635 | 1944.56 | 1934.56 | 1934.56 | 1534.069 | 313.676 | 313.676
Hydroelectric | 4694.2794 | 4694.2794 | 4694.2794 | 4694.2794 | 4694.2794 | 4694.2794 | 4694.2794 | 4694.2794 | 4694.2794 | 4694.2794
Storage | 798.74 | 798.74 | 2118.17 | 2118.17 | 2118.17 | 2118.17 | 2118.17 | 2118.17 | 2118.17 | 2118.17
Total | 7646.1979 | 7646.1979 | 8904.6279 | 8861.5128 | 8757.0094 | 8747.0094 | 8747.0094 | 8346.5184 | 7126.1254 | 7126.1254
Back to main menu

## Figure 28
Back to main menu
Figure 28: Forecasted Incremental Regulation Needs (MW)
| 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036
Minimum Regulation Requirement (Current) | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Forecasted Incremental Regulation Needs | 30 | 70 | 70 | 100 | 100 | 100 | 100 | 110 | 110 | 110
Forecasted Total Regulation Needs | 130 | 170 | 170 | 200 | 200 | 200 | 200 | 210 | 210 | 210
Back to main menu

## Figure 29
Back to main menu
Figure 29: Remaining Capacity Needs After Considering In-Flight Actions
Summer Capacity UCAP (MW) | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
2026 APO Capacity Need | 1146 | -68 | 391 | 872 | 2324 | 2446 | 2034 | 4321 | 8748 | 10520 | 10690 | 10931 | 11944 | 13320
Contribution of In-Flight Actions | 2237 | 1054 | 1266 | 1807 | 2001 | 1224 | 1425 | 1451 | 1584 | 1676 | 1675 | 1672 | 1671 | 1726
Remaining Capacity Needs After Considering In-Flight Actions | 0 | 0 | 0 | 0 | 323 | 1222 | 609 | 2870 | 7164 | 8844 | 9016 | 9260 | 10273 | 11594
Back to main menu

## Figure 30
Back to main menu
Figure 30: Remaining Energy Needs After Considering In-Flight Actions
Energy (TWh) | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
2026 APO Energy Need | 0.1 | 0 | 0 | 1 | 3.7 | 12.8 | 16.4 | 12.4 | 18.9 | 36.3 | 40.8 | 47.5 | 57.1 | 67.7
Contribution of In-Flight Actions | -1.8 | -2.6 | 0.1 | 0.1 | 0.7 | -0.4 | 0.6 | -2 | -2.6 | -0.7 | -0.1 | 0.7 | 1.7 | 2.5
Remaining Energy Needs After Considering In-Flight Actions | 1.9 | 2.7 | 0 | 0.9 | 3 | 13.2 | 15.8 | 14.4 | 21.5 | 37 | 41 | 46.8 | 55.4 | 65.2
Back to main menu

## Figure 32
Back to main menu
Figure 32: Capacity Auction Forward Guidance
Target Capacity UCAP (MW), By Season and Year | 2027 | 2027 | 2028 | 2028 | 2029 | 2029 | 2030 | 2030 | 2031 | 2031
| Summer | Winter | Summer | Winter | Summer | Winter | Summer | Winter | Summer | Winter
Preliminary Target Capacity | 1800 | 1200
Minimum Target |  |  | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
Forward Guidance |  |  | 1800 | 1200 | 1800 | 1200 | 1800 | 1200 | 1800 | 1200
Back to main menu

## Figure 33
Back to main menu
Figure 33: Incremental Actions Required to Meet Capacity Needs
Summer Capacity UCAP (MW) | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
2026 APO Capacity Need | 1146 | -68 | 391 | 872 | 2324 | 2446 | 2034 | 4321 | 8748 | 10520 | 10690 | 10931 | 11944 | 13320
Contribution of In-Flight Actions | 2237 | 1054 | 1266 | 1807 | 2001 | 1224 | 1425 | 1451 | 1584 | 1676 | 1675 | 1672 | 1671 | 1726
Capacity Auction Forward Guidance | 0 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800
Potential Contribution of Existing Non-Emitting Resources | 6 | 13 | 88 | 274 | 352 | 489 | 548 | 667 | 752 | 811 | 842 | 863 | 873 | 889
Potential Contribution of Existing Emitting Resources | 0 | 5 | 75 | 136 | 739 | 787 | 787 | 1347 | 4666 | 4715 | 4939 | 4943 | 4945 | 6097
Incremental Actions Required to Meet Capacity Needs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57 | 946 | 2518 | 2434 | 2654 | 3655 | 3809
Back to main menu

## Figure 34
Back to main menu
Figure 34: Incremental Actions Required to Meet Energy Needs
Energy (TWh) | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
2026 APO Energy Need | 0.1 | 0 | 0 | 1 | 3.7 | 12.8 | 16.4 | 12.4 | 18.9 | 36.3 | 40.8 | 47.5 | 57.1 | 67.7
Contribution of In-Flight Actions | -1.8 | -2.6 | 0.1 | 0.1 | 0.7 | -0.4 | 0.6 | -2 | -2.6 | -0.7 | -0.1 | 0.7 | 1.7 | 2.5
Potential Contribution of Existing Non-Emitting Resources | 0 | 0.2 | 0.8 | 1.1 | 2.1 | 4 | 4.8 | 5.7 | 7.3 | 7.9 | 7.9 | 8 | 7.9 | 7.9
Potential Contribution of Existing Emitting Resources | 0 | 0 | 0 | 0 | 1.1 | 0.8 | 0.9 | 0.6 | 1.7 | 8.2 | 11.6 | 13.8 | 18.9 | 20.3
Incremental Actions Required to Meet Energy Needs | 1.8 | 2.5 | 0 | 0 | 0 | 8.5 | 10.1 | 8.1 | 12.5 | 20.8 | 21.4 | 25 | 28.6 | 37
Back to main menu